## Slide 1: Opal-RT tasks in SUNLAMP
Aug 30-Sep 13

## Slide 2: BLOCK DIAGRAM
Python Script
Crest-VCT
RTLAB
Switched
shunt
P_load
Q_load
Solar output
conversion
Fixed
shunt
conversion
_load
_load
V_load
conversion
V_solar
Solar Q
set points

## Slide 3: Detail conversion and dataflow for updating the set point at ePHASORsim
PYTHON SCRIPT
Convert
Replace the at the solar buses with
GAMS
ePHASORsim

## Slide 4: Detail conversion and dataflow for updating the value at ePHASORsim
Python Script
Convert
Replace the at the solar buses with
GAMS
ePHASORsim

## Slide 5: Mapping Signal Names
Signal | Name in GAMS | Direction | Name in Opal-RT | Conversion?
Switched shunt element | self.switched_shunt_susceptance_values | Gams->Opal | shunt | 
Solar Q set points | self.token3_Reac_Solar | Gams->Opal | inQsolar | 
P_load | Self.p for p_load self.pv is for real power of solar | Gams<-Opal | Pload | Already converted
Q_load | self.q for q load; self.token3_Reac_Solar is for q solar | Gams <- Opal | Qload | Already converted
Vload | ------- |  |  | 

## Slide 6: Timing diagram
Mat file
t=0
t=‘x’
t=5
Start ePHASORsim
in sim mode and run for ‘3000’ sec
2. Pause ePHASORsim simulation
3. Obtain values of P_load, V_load and Q_load from RTLAB
4. Convert loads
5. Send _load, _load to GAMS
6. Get values of shunt and Q_solar set points, V_solar from GAMS
8. send them to ePASORsim and again execute for 3000 sec
7. Convert

## Slide 7: Code Snippets
Steps 3, 5 (without conversion)
Step 6 (without conversion)
Start ePHASORsim in sim mode and run for ‘3000’ sec.
Pause ePHASORsim simulation.
Obtain values of P_load, V_load and Q_load from RTLAB.
Get values of shunt and Q_solar set points from GAMS.
Send _load, _load to GAMS.
Get values of shunt, Q_solar set points, V_solar from GAMS.
Convert Q_solar to _solar
send them to ePASORsim and again execute for 3000 sec.

## Slide 8: To do:
4. Conversion
7. Passing values to ePHASORsim successfully
8. Timing
9. Plotting Output
10. Verification
11. Running it for multiple time steps
Presently stuck at passing the values to ePHARORsim simulation from the python script (Step-6). I realized it is a datatype/dimensionality issue.
Start ePHASORsim in sim mode and run for ‘3000’ sec.
Pause ePHASORsim simulation.
Obtain values of P_load, V_load and Q_load from RTLAB.
Get values of shunt and Q_solar set points from GAMS.
Send _load, _load to GAMS.
Get values of shunt, Q_solar set points, V_solar from GAMS.
Convert Q_solar to _solar
send them to ePASORsim and again execute for 3000 sec.

## Slide 9: October-3
Accomplished:
Start ePHASORsim in sim mode and run for ‘3000’ sec.
Pause ePHASORsim simulation.
Obtain values of P_load and Q_load from RTLAB.
Get values of shunt and Q_solar set points from GAMS.
Send P_load and Q_load to GAMS.
Get values of shunt, Q_solar set points, V_solar from GAMS.
Send them to ePASORsim and again execute for 3000 sec.
Compare voltages.

## Slide 10: Major progress
1. Accessing data before conversion.
2.

## Slide 11: Comparing Voltage
Chart: Voltage Comparison
Before: 0.00s
Gams: 11.758999824523926 s
After: 12.831999778747559

## Slide 12: Comparing Voltage
Before: 0.00s
Gams: 6.266999959945679 s
After: 9.270999908447266 s
Chart: